## Cal Data Sheet
Company: |  |  |  | Address: | [10 empty] | (E+H use only)Reviewed by: |  |  | Date: | 2018-02-01
Contact Person: |  |  |  | City/State/Zip: | [10 empty] | Required Quotation Date: | 2018-02-07
Phone/Fax: |  |  |  | Email Address: | [11 empty] | Calibration Stickers
Tag/Identifier | Manufacturer | Model/Order Code | Serial Number | Process Connection | Line Size | Calibration Range and Units | Number of Points | Type of Calibration | Technology | Instrument Type | Re-Zero (std) | MPE | Calibrated Output | Haz. Area | Cal Location | Yes/No | Due date or Frequency | Temp & Humidity | Regulated Industry | Loop Check | Comments | Instrument/Location/Function Description
Verification
Accredited 2 Protocol
Accredited 1 Protocol
Flow Lab - 3 pt. Standard
Flow Lab - 5 pt. Optional
Flow Onsite - 2 pt Standard
Flow Onsite - 3 pt Optional
Pressure - 3 pt. Standard
Pressure - 5 pt. Standard
Temperature -3 pt. Standard
Special
[23 empty] | Flow | Yes (std)
[23 empty] | Coriolis w/ Density | No
Pressure
[23 empty] | Temp | Yes
[23 empty] | Level | No
Analyt
Electr
Onsite flow calibration in-line with master meter.
Onsite flow calibration off-line with flow rig
Onsite pressure/temperature calibration
Other (explain in "Comments")
Please refer to E+H Calibration Data Sheet Definitions for clarification of terms.
Note on Q3: No = calibration sticker only - no due date. Yes = calibration sticker; define frequency of recalibration or recalibration date.
Note on E4: If a special process connection is used, please document in the Comments column.
Note on G4: Desired span of calilbration. (i.e. 0-300 lb/hr., -5-30 psig, -20-250°F, etc.) If no entry here, Calibration Range will be set based on current span found in instrument configuration, total instrument upper range value, or last known calibration certificate.
Note on M4: No entry here will default calibration to standard MPE value of 1(%o.r.,%o.f.s, or absolute value)
Note on O4: NO = Non-Hazardous. YES = Hazardous Area in which calibration will take place.
Note on S4: Estimate required for location of onsite calibration. Must have for ISO 17025 accredited calibrations.
Note on U4: Loop Check default (if no answer supplied) is NO. Loop check confirms instrument output when instrument is returned to the process.

## Sheet1 (hidden)
Make a selection | Process Connection | Manufacturer
Standard 2 Protocol | Make a selection | Make a selection or type in
Standard 1 Protocol | Flange | Endress+Hauser
Accredited 2 Protocol | Flange DIN/ISO | Micro Motion
Accredited 1 Protocol | Pressure Flange w/extnd diaphragm | Rosemount
Verification | Tri-Clamp | Foxboro
Make a selection | Tri-Clamp DIN/ISO | Yokogawa
Flow Lab - 3 pt. Standard | Other (describe in Comments) | ABB
Flow Lab - 5 pt. Optional | Threaded | Anderson
Flow Onsite - 2 pt Standard | Threaded DIN/ISO | Badger
Flow Onsite - 3 pt Optional | Tank Spud | Brooks/Quantim
Pressure - 3 pt. Standard | Compression | Druck/GE
Pressure - 5 pt. Standard | Varivent | Dwyer
Temperature -3 pt. Standard | VCO | Hach
Special | Wafer | Honeywell
Make a selection |  | Krohne
Flow | Line Size | Pyromation
Pressure | Make a selection | Siemens
Temp | 1/24" (01) | Vega
Analysis | 1/12" (02)
Other | 1/8" (04) | NO
Select Type: Flow | 1/4" | YES
Coriolis | 3/8" (08) | Output Type
Coriolis + water density cal (Lab Only) | 1/2" (15) | Curr
Coriolis + special density cal (Factory Only) | 3/4" | Freq
Magnetic (EMF) | 1" (25) | PB
Vortex | 1¼" (32) | FF
Mechanical (Turbine, PD, etc.) | 1½" (40) | Ethernet IP
Ultrasonic | 2" (50) | ModB
Open Channel | 2½" (65) | Other - Specify in Comments
Select Type: Pressure | 3" (80) | *** To include more cells for a drop down list.
Gauge | 4" (100 / 1H) | 1. Select formulas in the navigation ribbon and select "define name"
Absolute | 6" (150/1F) | 2. Select name manager
Differential | 8" (200/2H) | 3. Select the name you would like to adjust the cell values for.
Select Type: Temp | 10" (250/2F) | 4. Adjust the cells as needed and select Close
RTD | 12" (300/3H)
Thermocouple | Other - Specify in Comments
Transmitter with RTD or TC | Due Date/Frequency
Transmitter only | Make a selection
Select or Insert Instrument Type: Analysis | 3 months
pH | 6 months
Conductivity | 1 year
Oxygen | 2 years
Ion Selective | 3 years
Select or Insert Instrument Type: Other | 4 years
Recorder/Indicator | 5 years
Level | NO
YES
Make a selection
Calibration Laboratory
Onsite flow calibration in-line with master meter.
Onsite flow calibration off-line with master meter
Onsite flow calibration off-line with flow rig
Onsite pressure/temperature calibration
Other (explain in "Comments")
Yes (std)
No
Yes
No
Level
Electr